## Sheet1
50 Common Household Maintenance Items - Checklist
Item # | Description | Recommended Frequency | Date Last Completed | Date Last Completed | Date Last Completed | Date Last Completed | Date Last Completed
1 | Test smoke detectors and replace batteries if needed | Annually
2 | Inspect and clean air filters in HVAC systems | Monthly
3 | Check for leaks and repair any dripping faucets | As needed
4 | Clean gutters and downspouts | Twice a year
5 | Trim trees and bushes away from the house | As needed
6 | Inspect and clean the chimney | Annually
7 | Check and repair any damaged window screens | Annually
8 | Test and reset ground fault circuit interrupters (GFCIs) | Monthly
9 | Inspect and repair caulking around windows and doors | Annually
10 | Clean and inspect dryer vents | Annually
11 | Lubricate door hinges and locks | Annually
12 | Inspect and clean refrigerator coils | Annually
13 | Test and replace any non-working light bulbs | As needed
14 | Clean and inspect range hood filters | Annually
15 | Flush water heaters to remove sediment | Annually
16 | Inspect and clean kitchen and bathroom exhaust fans | Annually
17 | Check and replace weatherstripping on doors and windows | Annually
18 | Inspect and clean ceiling fans | Annually
19 | Test and reset circuit breakers | Annually
20 | Inspect and repair cracked or damaged caulking in bathrooms | Annually
21 | Check and clean the condenser unit of the air conditioner | Annually
22 | Inspect and repair loose or damaged electrical outlets | Annually
23 | Clean and inspect the garbage disposal | Annually
24 | Check and repair any loose or damaged tiles | As needed
25 | Inspect and repair grout in bathrooms and kitchens | Annually
26 | Clean and inspect range burners and oven | Annually
27 | Test and inspect garage door safety features | Annually
28 | Inspect and clean the dishwasher | Annually
29 | Check and replace HVAC filters | Annually
30 | Inspect and repair any cracked or damaged window glass | Annually
31 | Clean and inspect showerheads and faucets | Annually
32 | Inspect and repair any leaking pipes | As needed
33 | Clean and inspect ceiling light fixtures | Annually
34 | Test and clean the sump pump | Annually
35 | Inspect and repair damaged or loose siding | Annually
36 | Check and repair any leaky toilets | As needed
37 | Clean and inspect bathroom exhaust fan covers | Annually
38 | Inspect and repair damaged or missing roof shingles | Annually
39 | Clean and inspect bathroom vanity drains | Annually
40 | Test and inspect garage door opener safety sensors | Annually
41 | Inspect and repair loose or damaged stair handrails | Annually
42 | Clean and inspect bathroom vents | Annually
43 | Check and repair loose or damaged fence boards | Annually
44 | Inspect and clean kitchen sink drains | Annually
45 | Test and inspect the water pressure | Annually
46 | Inspect and repair damaged or loose floorboards | Annually
47 | Clean and inspect bathroom mirrors | Annually
48 | Check and repair loose or damaged door hinges | Annually
49 | Inspect and repair any cracks in the foundation | Annually
50 | Clean and inspect bathroom tile grout | Annually
Please note that you can fill in the respective dates in the "Date Last Completed" columns